## Checklist
Building Maintenance Checklist
Building Name: | [Building Name] |  | Inspection Date: | 2028-04-18
Location: | [Building Location] |  | Inspected By: | [Inspector’s Name]
Building Maintenance Checklist Table
Area/Equipment | Inspection Task | Frequency | Completed [✔ / ✘] | Notes/Details
Exterior Building | Check for cracks, damage, or graffiti | Monthly | 2
| Inspect windows for cracks and sealant | Monthly | 2
| Clear debris from gutters and downspouts | Monthly | 2
Roof | Inspect for leaks, wear, or damage | Quarterly | 2
| Clear debris and inspect flashing | Quarterly | 2
HVAC System | Check filters and replace if necessary | Monthly | 2
| Inspect ductwork for leaks or damage | Quarterly | 2
| Test thermostats for accuracy | Monthly | 2
Electrical System | Test emergency lighting and exit signs | Monthly | 2
| Inspect wiring, panels, and breakers | Annually | 2
| Check for exposed or frayed wires | Monthly | 2
Plumbing System | Inspect pipes for leaks or corrosion | Monthly | 2
| Test water pressure and flow | Monthly | 2
| Flush water heaters and inspect valves | Quarterly | 1
Fire Safety Equipment | Inspect fire extinguishers (recharge if needed) | Monthly | 1
| Test smoke and CO detectors | Monthly | 1
| Inspect sprinkler system | Annually | 1
Doors and Windows | Check door hinges, locks, and handles | Monthly | 1
| Inspect weatherstripping and replace if worn | Monthly | 1
Interior Surfaces | Inspect walls and ceilings for cracks or stains | Monthly | 1
| Check for mold or water damage | Monthly | 1
Flooring | Inspect carpets, tiles, and floors for wear | Monthly | 1
| Schedule deep cleaning or repairs as needed | Quarterly | 1
Lighting | Replace burnt-out bulbs | Monthly | 1
| Clean fixtures and check for flickering | Monthly | 1
Parking Area | Check pavement for cracks and potholes | Monthly | 1
| Repaint lines and signage as needed | Annually | 1
Landscaping | Trim bushes and trees | Monthly | 1
| Mow lawn and clear weeds | Weekly | 1
Seasonal Tasks
Season | Task | Completed (✔) | Details | Add Note/Supplies needed
Winter | Inspect for ice and snow buildup | 2
| Check heating systems for efficiency | 2
Spring | Clean gutters and downspouts | 2
| Inspect for winter-related damage | 2
Summer | Service air conditioning units | 2
| Inspect outdoor areas for pest control | 2
Fall | Clear gutters of leaves | 1
| Prepare heating system for winter | 1